## Demonstrator
Elementary Fourier Optics model for interferometric measurements of surface topography
Single wavelength phase measurement
© Zygo Corporation Peter de Groot 2020/08/02
Creative Commons Attribution-NonCommercial-NoDerivatives 4.0 International License
| Setup surface profile |  |  |  |  | Profile parameters |  |  |  |  | Setup optical system |  |  |  |  | Optical parameters
| Field of view |  | Lx | 50 | µm | Pixels |  | Nx | 200 | (fixed) | Wavelength |  | λ | 0.5 | µm | Abbe frequency |  | fmax | 0.8 | 1/µm
| Sine amplitude |  | bo | 0.12 | µm | Sampling |  | xstep | 0.25 | µm | Defocus |  | zoffs | 0 | µm | Rayleigh criterion |  | xlim | 1.525 | µm
| Twin post height |  | brect | 0 | µm | Freq. bin |  | fstep | 0.02 | cycles/µm | Imaging NA |  | AN | 0.2 |  | Obliquity |  | Ω | 1.0102
| Period |  | 1/ν | 10 | µm | Maximum slope |  | s | 4.3118 | deg | Pupil fill |  | q | 1 | (0 or 1) | Slope acceptance |  | β | 11.537 | deg
| Sample tilt |  | αpart | 0 | deg | Max slope/pixel |  | δh | 0.01885 | µm/pixel | Source NA |  | AP | 0.2 | (use q) | Depth of field |  | Dfield ± | 12.5 | µm
All distances in µm, spatial frequencies in cycles/µm
0
| Position | Height | Object field |  |  | Freq. | Spectrum of plane waves |  |  | Transfer function |  |  | Filtered spectrum |  |  | Imaged light field |  |  | Measured height
| x | ho | Uo |  |  | fx | ~Uo |  |  | ~O |  |  | ~UI |  |  | UI |  |  | θI | hI | diff
| µm | µm | Real | Imag | Mag | 1/µm | Real | Imag | Mag | Real | Imag | Mag | Real | Imag | Mag | Real | Imag | Mag | Arg | µm | µm
1 | -25 | -0.12 | -0.98784 | 0.1555 | 1 | -2 | 2.1223e-15 | 1.0465e-16 | 2.1259e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.82219 | 0.27389 | 0.86661 | -2.82 | -0.11335 | 0.0066495 | -0.11335
2 | -24.75 | -0.11852 | -0.98145 | 0.19169 | 1 | -1.98 | 2.2288e-15 | 9.6191e-16 | 2.4275e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.80772 | 0.29616 | 0.8603 | -2.7902 | -0.11215 | 0.006373 | -0.11215
3 | -24.5 | -0.11413 | -0.95467 | 0.29767 | 1 | -1.96 | -5.2012e-16 | 1.236e-16 | 5.346e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.76117 | 0.35897 | 0.84157 | -2.7009 | -0.10856 | 0.0055637 | -0.10856
4 | -24.25 | -0.10692 | -0.88629 | 0.46313 | 1 | -1.94 | -1.8614e-16 | 2.2118e-16 | 2.8908e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.67473 | 0.44997 | 0.81101 | -2.5534 | -0.10263 | 0.004286 | -0.10263
5 | -24 | -0.097082 | -0.74763 | 0.66411 | 1 | -1.92 | 6.6501e-16 | 5.5954e-17 | 6.6736e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5405 | 0.54822 | 0.76986 | -2.3491 | -0.094422 | 0.0026602 | -0.094422
6 | -23.75 | -0.084853 | -0.51435 | 0.85758 | 1 | -1.9 | 3.1604e-16 | 1.4863e-14 | 1.4866e-14 | 0 | 0 | 0 | 0 | 0 | 0 | -0.35683 | 0.6256 | 0.72021 | -2.0891 | -0.083973 | 0.00087991 | -0.083973
7 | -23.5 | -0.070534 | -0.18298 | 0.98312 | 1 | -1.88 | 1.7052e-16 | 1.2388e-16 | 2.1077e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13429 | 0.65171 | 0.6654 | -1.774 | -0.071306 | -0.00077195 | -0.071306
8 | -23.25 | -0.054479 | 0.21376 | 0.97689 | 1 | -1.86 | -2.9571e-16 | 1.0413e-15 | 1.0825e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10168 | 0.60183 | 0.61036 | -1.4034 | -0.05641 | -0.0019313 | -0.05641
9 | -23 | -0.037082 | 0.60378 | 0.79715 | 1 | -1.84 | 3.7472e-16 | 1.0828e-17 | 3.7488e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31388 | 0.46599 | 0.56184 | -0.97802 | -0.039311 | -0.0022292 | -0.039311
10 | -22.75 | -0.018772 | 0.89291 | 0.45024 | 1 | -1.82 | -1.6743e-16 | 3.2549e-16 | 3.6602e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46218 | 0.25497 | 0.52784 | -0.50412 | -0.020263 | -0.0014908 | -0.020263
11 | -22.5 | 6.6131e-17 | 1 | -1.6453e-15 | 1 | -1.8 | -1.8746e-13 | 3.4349e-16 | 1.8746e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51551 | 1.0915e-13 | 0.51551 | -2.1174e-13 | -8.5109e-15 | -8.4499e-15 | -8.5109e-15
12 | -22.25 | 0.018772 | 0.89291 | -0.45024 | 1 | -1.78 | 2.5354e-16 | -3.1677e-16 | 4.0574e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46218 | -0.25497 | 0.52784 | 0.50412 | 0.020263 | 0.0014908 | 0.020263
13 | -22 | 0.037082 | 0.60378 | -0.79715 | 1 | -1.76 | -6.2049e-16 | -8.0893e-16 | 1.0195e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31388 | -0.46599 | 0.56184 | 0.97802 | 0.039311 | 0.0022292 | 0.039311
14 | -21.75 | 0.054479 | 0.21376 | -0.97689 | 1 | -1.74 | 9.7174e-16 | 2.2858e-16 | 9.9827e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10168 | -0.60183 | 0.61036 | 1.4034 | 0.05641 | 0.0019313 | 0.05641
15 | -21.5 | 0.070534 | -0.18298 | -0.98312 | 1 | -1.72 | -7.5083e-17 | 3.8404e-18 | 7.5182e-17 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13429 | -0.65171 | 0.6654 | 1.774 | 0.071306 | 0.00077195 | 0.071306
16 | -21.25 | 0.084853 | -0.51435 | -0.85758 | 1 | -1.7 | -4.5354e-16 | -2.2523e-12 | 2.2523e-12 | 0 | 0 | 0 | 0 | 0 | 0 | -0.35683 | -0.6256 | 0.72021 | 2.0891 | 0.083973 | -0.00087991 | 0.083973
17 | -21 | 0.097082 | -0.74763 | -0.66411 | 1 | -1.68 | -2.9306e-16 | 4.2733e-17 | 2.9616e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5405 | -0.54822 | 0.76986 | 2.3491 | 0.094422 | -0.0026602 | 0.094422
18 | -20.75 | 0.10692 | -0.88629 | -0.46313 | 1 | -1.66 | 5.1575e-16 | -9.1704e-16 | 1.0521e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.67473 | -0.44997 | 0.81101 | 2.5534 | 0.10263 | -0.004286 | 0.10263
19 | -20.5 | 0.11413 | -0.95467 | -0.29767 | 1 | -1.64 | -2.1852e-16 | -1.5488e-16 | 2.6785e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.76117 | -0.35897 | 0.84157 | 2.7009 | 0.10856 | -0.0055637 | 0.10856
20 | -20.25 | 0.11852 | -0.98145 | -0.19169 | 1 | -1.62 | -8.7789e-16 | 1.4815e-16 | 8.903e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.80772 | -0.29616 | 0.8603 | 2.7902 | 0.11215 | -0.006373 | 0.11215
21 | -20 | 0.12 | -0.98784 | -0.1555 | 1 | -1.6 | 2.5466e-11 | -8.6079e-16 | 2.5466e-11 | 0 | 0 | 0 | 0 | 0 | 0 | -0.82219 | -0.27389 | 0.86661 | 2.82 | 0.11335 | -0.0066495 | 0.11335
22 | -19.75 | 0.11852 | -0.98145 | -0.19169 | 1 | -1.58 | -1.0706e-15 | 5.0036e-16 | 1.1818e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.80772 | -0.29616 | 0.8603 | 2.7902 | 0.11215 | -0.006373 | 0.11215
23 | -19.5 | 0.11413 | -0.95467 | -0.29767 | 1 | -1.56 | -2.4991e-16 | -9.6654e-17 | 2.6795e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.76117 | -0.35897 | 0.84157 | 2.7009 | 0.10856 | -0.0055637 | 0.10856
24 | -19.25 | 0.10692 | -0.88629 | -0.46313 | 1 | -1.54 | 1.3335e-16 | -7.743e-17 | 1.542e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.67473 | -0.44997 | 0.81101 | 2.5534 | 0.10263 | -0.004286 | 0.10263
25 | -19 | 0.097082 | -0.74763 | -0.66411 | 1 | -1.52 | -1.2871e-16 | 4.2522e-16 | 4.4428e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5405 | -0.54822 | 0.76986 | 2.3491 | 0.094422 | -0.0026602 | 0.094422
26 | -18.75 | 0.084853 | -0.51435 | -0.85758 | 1 | -1.5 | 1.562e-16 | 2.707e-10 | 2.707e-10 | 0 | 0 | 0 | 0 | 0 | 0 | -0.35683 | -0.6256 | 0.72021 | 2.0891 | 0.083973 | -0.00087991 | 0.083973
27 | -18.5 | 0.070534 | -0.18298 | -0.98312 | 1 | -1.48 | -7.2645e-16 | -7.1881e-16 | 1.022e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13429 | -0.65171 | 0.6654 | 1.774 | 0.071306 | 0.00077195 | 0.071306
28 | -18.25 | 0.054479 | 0.21376 | -0.97689 | 1 | -1.46 | -1.5573e-16 | -5.5852e-17 | 1.6544e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10168 | -0.60183 | 0.61036 | 1.4034 | 0.05641 | 0.0019313 | 0.05641
29 | -18 | 0.037082 | 0.60378 | -0.79715 | 1 | -1.44 | -1.1511e-16 | 3.289e-16 | 3.4847e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31388 | -0.46599 | 0.56184 | 0.97802 | 0.039311 | 0.0022292 | 0.039311
30 | -17.75 | 0.018772 | 0.89291 | -0.45024 | 1 | -1.42 | 4.0133e-16 | 9.7201e-16 | 1.0516e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46218 | -0.25497 | 0.52784 | 0.50412 | 0.020263 | 0.0014908 | 0.020263
31 | -17.5 | -5.1435e-17 | 1 | 1.2796e-15 | 1 | -1.4 | -2.6947e-09 | -5.6414e-16 | 2.6947e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51551 | 9.3375e-14 | 0.51551 | -1.8113e-13 | -7.2805e-15 | -7.102e-15 | -7.2805e-15
32 | -17.25 | -0.018772 | 0.89291 | 0.45024 | 1 | -1.38 | 3.2853e-16 | 6.5867e-16 | 7.3606e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46218 | 0.25497 | 0.52784 | -0.50412 | -0.020263 | -0.0014908 | -0.020263
33 | -17 | -0.037082 | 0.60378 | 0.79715 | 1 | -1.36 | -2.5029e-17 | 5.3826e-16 | 5.3884e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31388 | 0.46599 | 0.56184 | -0.97802 | -0.039311 | -0.0022292 | -0.039311
34 | -16.75 | -0.054479 | 0.21376 | 0.97689 | 1 | -1.34 | 3.4451e-16 | 3.4493e-17 | 3.4623e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10168 | 0.60183 | 0.61036 | -1.4034 | -0.05641 | -0.0019313 | -0.05641
35 | -16.5 | -0.070534 | -0.18298 | 0.98312 | 1 | -1.32 | 7.3837e-18 | -5.1726e-16 | 5.1731e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13429 | 0.65171 | 0.6654 | -1.774 | -0.071306 | -0.00077195 | -0.071306
36 | -16.25 | -0.084853 | -0.51435 | 0.85758 | 1 | -1.3 | -7.6712e-16 | -2.5003e-08 | 2.5003e-08 | 0 | 0 | 0 | 0 | 0 | 0 | -0.35683 | 0.6256 | 0.72021 | -2.0891 | -0.083973 | 0.00087991 | -0.083973
37 | -16 | -0.097082 | -0.74763 | 0.66411 | 1 | -1.28 | -4.5836e-16 | -1.0905e-15 | 1.183e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5405 | 0.54822 | 0.76986 | -2.3491 | -0.094422 | 0.0026602 | -0.094422
38 | -15.75 | -0.10692 | -0.88629 | 0.46313 | 1 | -1.26 | 5.498e-16 | 1.3544e-15 | 1.4617e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.67473 | 0.44997 | 0.81101 | -2.5534 | -0.10263 | 0.004286 | -0.10263
39 | -15.5 | -0.11413 | -0.95467 | 0.29767 | 1 | -1.24 | -1.2438e-16 | -1.0897e-15 | 1.0968e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.76117 | 0.35897 | 0.84157 | -2.7009 | -0.10856 | 0.0055637 | -0.10856
40 | -15.25 | -0.11852 | -0.98145 | 0.19169 | 1 | -1.22 | -8.1634e-17 | 1.037e-15 | 1.0402e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.80772 | 0.29616 | 0.8603 | -2.7902 | -0.11215 | 0.006373 | -0.11215
41 | -15 | -0.12 | -0.98784 | 0.1555 | 1 | -1.2 | 2.1505e-07 | -4.1353e-16 | 2.1505e-07 | 0 | 0 | 0 | 0 | 0 | 0 | -0.82219 | 0.27389 | 0.86661 | -2.82 | -0.11335 | 0.0066495 | -0.11335
42 | -14.75 | -0.11852 | -0.98145 | 0.19169 | 1 | -1.18 | -3.3758e-16 | 4.0978e-16 | 5.3092e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.80772 | 0.29616 | 0.8603 | -2.7902 | -0.11215 | 0.006373 | -0.11215
43 | -14.5 | -0.11413 | -0.95467 | 0.29767 | 1 | -1.16 | 8.4896e-16 | -7.4901e-16 | 1.1321e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.76117 | 0.35897 | 0.84157 | -2.7009 | -0.10856 | 0.0055637 | -0.10856
44 | -14.25 | -0.10692 | -0.88629 | 0.46313 | 1 | -1.14 | -9.4661e-16 | 7.9329e-16 | 1.2351e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.67473 | 0.44997 | 0.81101 | -2.5534 | -0.10263 | 0.004286 | -0.10263
45 | -14 | -0.097082 | -0.74763 | 0.66411 | 1 | -1.12 | 4.97e-16 | -7.3561e-16 | 8.8777e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5405 | 0.54822 | 0.76986 | -2.3491 | -0.094422 | 0.0026602 | -0.094422
46 | -13.75 | -0.084853 | -0.51435 | 0.85758 | 1 | -1.1 | -1.6307e-17 | 1.7038e-06 | 1.7038e-06 | 0 | 0 | 0 | 0 | 0 | 0 | -0.35683 | 0.6256 | 0.72021 | -2.0891 | -0.083973 | 0.00087991 | -0.083973
47 | -13.5 | -0.070534 | -0.18298 | 0.98312 | 1 | -1.08 | 2.1865e-16 | -7.1055e-16 | 7.4343e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13429 | 0.65171 | 0.6654 | -1.774 | -0.071306 | -0.00077195 | -0.071306
48 | -13.25 | -0.054479 | 0.21376 | 0.97689 | 1 | -1.06 | -3.0527e-16 | 5.1545e-16 | 5.9906e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10168 | 0.60183 | 0.61036 | -1.4034 | -0.05641 | -0.0019313 | -0.05641
49 | -13 | -0.037082 | 0.60378 | 0.79715 | 1 | -1.04 | -4.1608e-16 | -8.6149e-16 | 9.5671e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31388 | 0.46599 | 0.56184 | -0.97802 | -0.039311 | -0.0022292 | -0.039311
50 | -12.75 | -0.018772 | 0.89291 | 0.45024 | 1 | -1.02 | 2.0102e-16 | 6.7025e-17 | 2.119e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46218 | 0.25497 | 0.52784 | -0.50412 | -0.020263 | -0.0014908 | -0.020263
51 | -12.5 | 3.6739e-17 | 1 | -9.1403e-16 | 1 | -1 | -1.234e-05 | -4.5181e-16 | 1.234e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51551 | 4.6677e-14 | 0.51551 | -9.0545e-14 | -3.6394e-15 | -3.5491e-15 | -3.6394e-15
52 | -12.25 | 0.018772 | 0.89291 | -0.45024 | 1 | -0.98 | -9.0282e-17 | 6.1834e-16 | 6.2489e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46218 | -0.25497 | 0.52784 | 0.50412 | 0.020263 | 0.0014908 | 0.020263
53 | -12 | 0.037082 | 0.60378 | -0.79715 | 1 | -0.96 | 6.5126e-16 | -6.9719e-16 | 9.5405e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31388 | -0.46599 | 0.56184 | 0.97802 | 0.039311 | 0.0022292 | 0.039311
54 | -11.75 | 0.054479 | 0.21376 | -0.97689 | 1 | -0.94 | -9.1905e-16 | 4.3405e-16 | 1.0164e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10168 | -0.60183 | 0.61036 | 1.4034 | 0.05641 | 0.0019313 | 0.05641
55 | -11.5 | 0.070534 | -0.18298 | -0.98312 | 1 | -0.92 | 1.2044e-15 | -8.9724e-16 | 1.5019e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13429 | -0.65171 | 0.6654 | 1.774 | 0.071306 | 0.00077195 | 0.071306
56 | -11.25 | 0.084853 | -0.51435 | -0.85758 | 1 | -0.9 | -1.1669e-15 | -8.0964e-05 | 8.0964e-05 | 0 | 0 | 0 | 0 | 0 | 0 | -0.35683 | -0.6256 | 0.72021 | 2.0891 | 0.083973 | -0.00087991 | 0.083973
57 | -11 | 0.097082 | -0.74763 | -0.66411 | 1 | -0.88 | 6.9698e-16 | -3.8353e-16 | 7.9554e-16 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5405 | -0.54822 | 0.76986 | 2.3491 | 0.094422 | -0.0026602 | 0.094422
58 | -10.75 | 0.10692 | -0.88629 | -0.46313 | 1 | -0.86 | -9.4833e-16 | 6.1541e-16 | 1.1305e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.67473 | -0.44997 | 0.81101 | 2.5534 | 0.10263 | -0.004286 | 0.10263
59 | -10.5 | 0.11413 | -0.95467 | -0.29767 | 1 | -0.84 | 7.1693e-16 | -9.6903e-16 | 1.2054e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.76117 | -0.35897 | 0.84157 | 2.7009 | 0.10856 | -0.0055637 | 0.10856
60 | -10.25 | 0.11852 | -0.98145 | -0.19169 | 1 | -0.82 | -6.7496e-16 | 1.2024e-15 | 1.3789e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.80772 | -0.29616 | 0.8603 | 2.7902 | 0.11215 | -0.006373 | 0.11215
61 | -10 | 0.12 | -0.98784 | -0.1555 | 1 | -0.8 | 0.00047581 | -1.0014e-15 | 0.00047581 | 0 | 0 | 0 | 0 | 0 | 0 | -0.82219 | -0.27389 | 0.86661 | 2.82 | 0.11335 | -0.0066495 | 0.11335
62 | -9.75 | 0.11852 | -0.98145 | -0.19169 | 1 | -0.78 | -7.3617e-16 | 1.2083e-15 | 1.4149e-15 | 0.0047272 | 0 | 0.0047272 | -3.4801e-18 | 5.7119e-18 | 6.6885e-18 | -0.80772 | -0.29616 | 0.8603 | 2.7902 | 0.11215 | -0.006373 | 0.11215
63 | -9.5 | 0.11413 | -0.95467 | -0.29767 | 1 | -0.76 | 7.3391e-16 | -8.9338e-16 | 1.1562e-15 | 0.01332 | 0 | 0.01332 | 9.7757e-18 | -1.19e-17 | 1.54e-17 | -0.76117 | -0.35897 | 0.84157 | 2.7009 | 0.10856 | -0.0055637 | 0.10856
64 | -9.25 | 0.10692 | -0.88629 | -0.46313 | 1 | -0.74 | -1.6128e-15 | 8.3048e-16 | 1.8141e-15 | 0.024377 | 0 | 0.024377 | -3.9316e-17 | 2.0245e-17 | 4.4222e-17 | -0.67473 | -0.44997 | 0.81101 | 2.5534 | 0.10263 | -0.004286 | 0.10263
65 | -9 | 0.097082 | -0.74763 | -0.66411 | 1 | -0.72 | 1.2578e-15 | -8.9384e-16 | 1.543e-15 | 0.037386 | 0 | 0.037386 | 4.7022e-17 | -3.3417e-17 | 5.7687e-17 | -0.5405 | -0.54822 | 0.76986 | 2.3491 | 0.094422 | -0.0026602 | 0.094422
66 | -8.75 | 0.084853 | -0.51435 | -0.85758 | 1 | -0.7 | -1.4482e-15 | 0.0024691 | 0.0024691 | 0.052046 | 0 | 0.052046 | -7.5374e-17 | 0.0001285 | 0.0001285 | -0.35683 | -0.6256 | 0.72021 | 2.0891 | 0.083973 | -0.00087991 | 0.083973
67 | -8.5 | 0.070534 | -0.18298 | -0.98312 | 1 | -0.68 | 1.5255e-15 | -1.3516e-15 | 2.0381e-15 | 0.068147 | 0 | 0.068147 | 1.0396e-16 | -9.2107e-17 | 1.3889e-16 | -0.13429 | -0.65171 | 0.6654 | 1.774 | 0.071306 | 0.00077195 | 0.071306
68 | -8.25 | 0.054479 | 0.21376 | -0.97689 | 1 | -0.66 | -1.5989e-15 | 1.1131e-15 | 1.9482e-15 | 0.085536 | 0 | 0.085536 | -1.3676e-16 | 9.5212e-17 | 1.6664e-16 | 0.10168 | -0.60183 | 0.61036 | 1.4034 | 0.05641 | 0.0019313 | 0.05641
69 | -8 | 0.037082 | 0.60378 | -0.79715 | 1 | -0.64 | 1.7658e-15 | -1.391e-15 | 2.2479e-15 | 0.10409 | 0 | 0.10409 | 1.838e-16 | -1.4478e-16 | 2.3398e-16 | 0.31388 | -0.46599 | 0.56184 | 0.97802 | 0.039311 | 0.0022292 | 0.039311
70 | -7.75 | 0.018772 | 0.89291 | -0.45024 | 1 | -0.62 | -2.007e-15 | 1.5092e-15 | 2.5111e-15 | 0.1237 | 0 | 0.1237 | -2.4826e-16 | 1.8669e-16 | 3.1063e-16 | 0.46218 | -0.25497 | 0.52784 | 0.50412 | 0.020263 | 0.0014908 | 0.020263
71 | -7.5 | -2.2044e-17 | 1 | 5.4842e-16 | 1 | -0.6 | -0.011103 | -1.671e-15 | 0.011103 | 0.14429 | 0 | 0.14429 | -0.001602 | -2.4112e-16 | 0.001602 | 0.51551 | 5.4097e-14 | 0.51551 | -1.0494e-13 | -4.218e-15 | -4.0688e-15 | -4.218e-15
72 | -7.25 | -0.018772 | 0.89291 | 0.45024 | 1 | -0.58 | -5.7842e-16 | 1.7093e-15 | 1.8045e-15 | 0.16579 | 0 | 0.16579 | -9.5895e-17 | 2.8339e-16 | 2.9917e-16 | 0.46218 | 0.25497 | 0.52784 | -0.50412 | -0.020263 | -0.0014908 | -0.020263
73 | -7 | -0.037082 | 0.60378 | 0.79715 | 1 | -0.56 | 1.054e-15 | -1.9562e-15 | 2.222e-15 | 0.18812 | 0 | 0.18812 | 1.9827e-16 | -3.68e-16 | 4.1801e-16 | 0.31388 | 0.46599 | 0.56184 | -0.97802 | -0.039311 | -0.0022292 | -0.039311
74 | -6.75 | -0.054479 | 0.21376 | 0.97689 | 1 | -0.54 | -1.5256e-15 | 2.1943e-15 | 2.6725e-15 | 0.21123 | 0 | 0.21123 | -3.2225e-16 | 4.6352e-16 | 5.6453e-16 | 0.10168 | 0.60183 | 0.61036 | -1.4034 | -0.05641 | -0.0019313 | -0.05641
75 | -6.5 | -0.070534 | -0.18298 | 0.98312 | 1 | -0.52 | 1.8883e-15 | -3.4829e-15 | 3.9618e-15 | 0.23507 | 0 | 0.23507 | 4.4388e-16 | -8.1873e-16 | 9.3132e-16 | -0.13429 | 0.65171 | 0.6654 | -1.774 | -0.071306 | -0.00077195 | -0.071306
76 | -6.25 | -0.084853 | -0.51435 | 0.85758 | 1 | -0.5 | -1.6114e-15 | -0.042157 | 0.042157 | 0.2596 | 0 | 0.2596 | -4.1831e-16 | -0.010944 | 0.010944 | -0.35683 | 0.6256 | 0.72021 | -2.0891 | -0.083973 | 0.00087991 | -0.083973
77 | -6 | -0.097082 | -0.74763 | 0.66411 | 1 | -0.48 | 1.7591e-15 | 2.2076e-15 | 2.8228e-15 | 0.28476 | 0 | 0.28476 | 5.0092e-16 | 6.2864e-16 | 8.0381e-16 | -0.5405 | 0.54822 | 0.76986 | -2.3491 | -0.094422 | 0.0026602 | -0.094422
78 | -5.75 | -0.10692 | -0.88629 | 0.46313 | 1 | -0.46 | -1.2216e-15 | -1.1535e-15 | 1.6801e-15 | 0.31051 | 0 | 0.31051 | -3.7932e-16 | -3.5816e-16 | 5.217e-16 | -0.67473 | 0.44997 | 0.81101 | -2.5534 | -0.10263 | 0.004286 | -0.10263
79 | -5.5 | -0.11413 | -0.95467 | 0.29767 | 1 | -0.44 | -1.4797e-16 | 1.3274e-15 | 1.3357e-15 | 0.33683 | 0 | 0.33683 | -4.984e-17 | 4.4712e-16 | 4.4989e-16 | -0.76117 | 0.35897 | 0.84157 | -2.7009 | -0.10856 | 0.0055637 | -0.10856
80 | -5.25 | -0.11852 | -0.98145 | 0.19169 | 1 | -0.42 | 4.4783e-15 | -1.4782e-15 | 4.7159e-15 | 0.36367 | 0 | 0.36367 | 1.6286e-15 | -5.3757e-16 | 1.715e-15 | -0.80772 | 0.29616 | 0.8603 | -2.7902 | -0.11215 | 0.006373 | -0.11215
81 | -5 | -0.12 | -0.98784 | 0.1555 | 1 | -0.4 | 0.13011 | 1.7073e-15 | 0.13011 | 0.391 | 0 | 0.391 | 0.050872 | 6.6756e-16 | 0.050872 | -0.82219 | 0.27389 | 0.86661 | -2.82 | -0.11335 | 0.0066495 | -0.11335
82 | -4.75 | -0.11852 | -0.98145 | 0.19169 | 1 | -0.38 | -1.5061e-14 | -2.7981e-15 | 1.5319e-14 | 0.41879 | 0 | 0.41879 | -6.3074e-15 | -1.1718e-15 | 6.4153e-15 | -0.80772 | 0.29616 | 0.8603 | -2.7902 | -0.11215 | 0.006373 | -0.11215
83 | -4.5 | -0.11413 | -0.95467 | 0.29767 | 1 | -0.36 | 1.0898e-14 | 4.5747e-15 | 1.1819e-14 | 0.44701 | 0 | 0.44701 | 4.8714e-15 | 2.045e-15 | 5.2832e-15 | -0.76117 | 0.35897 | 0.84157 | -2.7009 | -0.10856 | 0.0055637 | -0.10856
84 | -4.25 | -0.10692 | -0.88629 | 0.46313 | 1 | -0.34 | -1.0035e-14 | -7.9855e-15 | 1.2824e-14 | 0.47564 | 0 | 0.47564 | -4.7728e-15 | -3.7982e-15 | 6.0997e-15 | -0.67473 | 0.44997 | 0.81101 | -2.5534 | -0.10263 | 0.004286 | -0.10263
85 | -4 | -0.097082 | -0.74763 | 0.66411 | 1 | -0.32 | 1.0476e-14 | 1.9172e-14 | 2.1847e-14 | 0.50463 | 0 | 0.50463 | 5.2865e-15 | 9.6746e-15 | 1.1025e-14 | -0.5405 | 0.54822 | 0.76986 | -2.3491 | -0.094422 | 0.0026602 | -0.094422
86 | -3.75 | -0.084853 | -0.51435 | 0.85758 | 1 | -0.3 | -1.1658e-14 | 0.30648 | 0.30648 | 0.53397 | 0 | 0.53397 | -6.225e-15 | 0.16365 | 0.16365 | -0.35683 | 0.6256 | 0.72021 | -2.0891 | -0.083973 | 0.00087991 | -0.083973
87 | -3.5 | -0.070534 | -0.18298 | 0.98312 | 1 | -0.28 | 1.335e-14 | -2.7813e-14 | 3.0851e-14 | 0.56364 | 0 | 0.56364 | 7.5245e-15 | -1.5677e-14 | 1.7389e-14 | -0.13429 | 0.65171 | 0.6654 | -1.774 | -0.071306 | -0.00077195 | -0.071306
88 | -3.25 | -0.054479 | 0.21376 | 0.97689 | 1 | -0.26 | -1.6454e-14 | 1.6864e-14 | 2.3561e-14 | 0.5936 | 0 | 0.5936 | -9.7673e-15 | 1.001e-14 | 1.3986e-14 | 0.10168 | 0.60183 | 0.61036 | -1.4034 | -0.05641 | -0.0019313 | -0.05641
89 | -3 | -0.037082 | 0.60378 | 0.79715 | 1 | -0.24 | 2.2644e-14 | -1.3496e-14 | 2.6361e-14 | 0.62384 | 0 | 0.62384 | 1.4126e-14 | -8.4193e-15 | 1.6445e-14 | 0.31388 | 0.46599 | 0.56184 | -0.97802 | -0.039311 | -0.0022292 | -0.039311
90 | -2.75 | -0.018772 | 0.89291 | 0.45024 | 1 | -0.22 | -4.1262e-14 | 1.1953e-14 | 4.2959e-14 | 0.65432 | 0 | 0.65432 | -2.6999e-14 | 7.8213e-15 | 2.8109e-14 | 0.46218 | 0.25497 | 0.52784 | -0.50412 | -0.020263 | -0.0014908 | -0.020263
91 | -2.5 | 7.3479e-18 | 1 | -1.8281e-16 | 1 | -0.2 | -0.48584 | -1.1621e-14 | 0.48584 | 0.68504 | 0 | 0.68504 | -0.33282 | -7.9609e-15 | 0.33282 | 0.51551 | -8.0824e-15 | 0.51551 | 1.5678e-14 | 6.3019e-16 | 7.4995e-16 | 6.3019e-16
92 | -2.25 | 0.018772 | 0.89291 | -0.45024 | 1 | -0.18 | 3.2122e-14 | 1.2157e-14 | 3.4346e-14 | 0.71596 | 0 | 0.71596 | 2.2998e-14 | 8.7041e-15 | 2.459e-14 | 0.46218 | -0.25497 | 0.52784 | 0.50412 | 0.020263 | 0.0014908 | 0.020263
93 | -2 | 0.037082 | 0.60378 | -0.79715 | 1 | -0.16 | -1.3352e-14 | -1.3929e-14 | 1.9295e-14 | 0.74706 | 0 | 0.74706 | -9.9747e-15 | -1.0406e-14 | 1.4414e-14 | 0.31388 | -0.46599 | 0.56184 | 0.97802 | 0.039311 | 0.0022292 | 0.039311
94 | -1.75 | 0.054479 | 0.21376 | -0.97689 | 1 | -0.14 | 7.0844e-15 | 1.7802e-14 | 1.916e-14 | 0.77833 | 0 | 0.77833 | 5.514e-15 | 1.3856e-14 | 1.4913e-14 | 0.10168 | -0.60183 | 0.61036 | 1.4034 | 0.05641 | 0.0019313 | 0.05641
95 | -1.5 | 0.070534 | -0.18298 | -0.98312 | 1 | -0.12 | -3.544e-15 | -3.0509e-14 | 3.0714e-14 | 0.80973 | 0 | 0.80973 | -2.8697e-15 | -2.4704e-14 | 2.487e-14 | -0.13429 | -0.65171 | 0.6654 | 1.774 | 0.071306 | 0.00077195 | 0.071306
96 | -1.25 | 0.084853 | -0.51435 | -0.85758 | 1 | -0.1 | 1.02e-15 | -0.34446 | 0.34446 | 0.84126 | 0 | 0.84126 | 8.5812e-16 | -0.28978 | 0.28978 | -0.35683 | -0.6256 | 0.72021 | 2.0891 | 0.083973 | -0.00087991 | 0.083973
97 | -1 | 0.097082 | -0.74763 | -0.66411 | 1 | -0.08 | 1.287e-15 | 2.0943e-14 | 2.0982e-14 | 0.87289 | 0 | 0.87289 | 1.1234e-15 | 1.8281e-14 | 1.8315e-14 | -0.5405 | -0.54822 | 0.76986 | 2.3491 | 0.094422 | -0.0026602 | 0.094422
98 | -0.75 | 0.10692 | -0.88629 | -0.46313 | 1 | -0.06 | -3.9249e-15 | -7.9402e-15 | 8.8572e-15 | 0.9046 | 0 | 0.9046 | -3.5504e-15 | -7.1826e-15 | 8.0122e-15 | -0.67473 | -0.44997 | 0.81101 | 2.5534 | 0.10263 | -0.004286 | 0.10263
99 | -0.5 | 0.11413 | -0.95467 | -0.29767 | 1 | -0.04 | 8.0181e-15 | 3.3585e-15 | 8.6931e-15 | 0.93636 | 0 | 0.93636 | 7.5079e-15 | 3.1448e-15 | 8.1399e-15 | -0.76117 | -0.35897 | 0.84157 | 2.7009 | 0.10856 | -0.0055637 | 0.10856
100 | -0.25 | 0.11852 | -0.98145 | -0.19169 | 1 | -0.02 | -1.8302e-14 | -7.4878e-16 | 1.8317e-14 | 0.96817 | 0 | 0.96817 | -1.772e-14 | -7.2495e-16 | 1.7734e-14 | -0.80772 | -0.29616 | 0.8603 | 2.7902 | 0.11215 | -0.006373 | 0.11215
101 | 0 | 0.12 | -0.98784 | -0.1555 | 1 | 1.5057e-15 | -0.25508 | -1.2692e-15 | 0.25508 | 1 | 0 | 1 | -0.25508 | -1.2692e-15 | 0.25508 | -0.82219 | -0.27389 | 0.86661 | 2.82 | 0.11335 | -0.0066495 | 0.11335
102 | 0.25 | 0.11852 | -0.98145 | -0.19169 | 1 | 0.02 | 1.8706e-14 | 3.1901e-15 | 1.8976e-14 | 0.96817 | 0 | 0.96817 | 1.8111e-14 | 3.0886e-15 | 1.8372e-14 | -0.80772 | -0.29616 | 0.8603 | 2.7902 | 0.11215 | -0.006373 | 0.11215
103 | 0.5 | 0.11413 | -0.95467 | -0.29767 | 1 | 0.04 | -8.3116e-15 | -5.733e-15 | 1.0097e-14 | 0.93636 | 0 | 0.93636 | -7.7827e-15 | -5.3681e-15 | 9.4545e-15 | -0.76117 | -0.35897 | 0.84157 | 2.7009 | 0.10856 | -0.0055637 | 0.10856
104 | 0.75 | 0.10692 | -0.88629 | -0.46313 | 1 | 0.06 | 4.3222e-15 | 1.0309e-14 | 1.1179e-14 | 0.9046 | 0 | 0.9046 | 3.9098e-15 | 9.3256e-15 | 1.0112e-14 | -0.67473 | -0.44997 | 0.81101 | 2.5534 | 0.10263 | -0.004286 | 0.10263
105 | 1 | 0.097082 | -0.74763 | -0.66411 | 1 | 0.08 | -1.6934e-15 | -2.3511e-14 | 2.3572e-14 | 0.87289 | 0 | 0.87289 | -1.4781e-15 | -2.0523e-14 | 2.0576e-14 | -0.5405 | -0.54822 | 0.76986 | 2.3491 | 0.094422 | -0.0026602 | 0.094422
106 | 1.25 | 0.084853 | -0.51435 | -0.85758 | 1 | 0.1 | -6.2476e-16 | -0.34446 | 0.34446 | 0.84126 | 0 | 0.84126 | -5.2559e-16 | -0.28978 | 0.28978 | -0.35683 | -0.6256 | 0.72021 | 2.0891 | 0.083973 | -0.00087991 | 0.083973
107 | 1.5 | 0.070534 | -0.18298 | -0.98312 | 1 | 0.12 | 3.2385e-15 | 2.8839e-14 | 2.9021e-14 | 0.80973 | 0 | 0.80973 | 2.6223e-15 | 2.3352e-14 | 2.3499e-14 | -0.13429 | -0.65171 | 0.6654 | 1.774 | 0.071306 | 0.00077195 | 0.071306
108 | 1.75 | 0.054479 | 0.21376 | -0.97689 | 1 | 0.14 | -6.8849e-15 | -1.5764e-14 | 1.7202e-14 | 0.77833 | 0 | 0.77833 | -5.3587e-15 | -1.2269e-14 | 1.3388e-14 | 0.10168 | -0.60183 | 0.61036 | 1.4034 | 0.05641 | 0.0019313 | 0.05641
109 | 2 | 0.037082 | 0.60378 | -0.79715 | 1 | 0.16 | 1.3384e-14 | 1.1621e-14 | 1.7725e-14 | 0.74706 | 0 | 0.74706 | 9.9986e-15 | 8.6817e-15 | 1.3242e-14 | 0.31388 | -0.46599 | 0.56184 | 0.97802 | 0.039311 | 0.0022292 | 0.039311
110 | 2.25 | 0.018772 | 0.89291 | -0.45024 | 1 | 0.18 | -3.1642e-14 | -9.9481e-15 | 3.3169e-14 | 0.71596 | 0 | 0.71596 | -2.2654e-14 | -7.1224e-15 | 2.3747e-14 | 0.46218 | -0.25497 | 0.52784 | 0.50412 | 0.020263 | 0.0014908 | 0.020263
111 | 2.5 | 7.3479e-18 | 1 | -1.8281e-16 | 1 | 0.2 | -0.48584 | 9.311e-15 | 0.48584 | 0.68504 | 0 | 0.68504 | -0.33282 | 6.3784e-15 | 0.33282 | 0.51551 | 6.903e-15 | 0.51551 | -1.3391e-14 | -5.3824e-16 | -4.1848e-16 | -5.3824e-16
112 | 2.75 | -0.018772 | 0.89291 | 0.45024 | 1 | 0.22 | 3.9886e-14 | -9.378e-15 | 4.0974e-14 | 0.65432 | 0 | 0.65432 | 2.6098e-14 | -6.1362e-15 | 2.681e-14 | 0.46218 | 0.25497 | 0.52784 | -0.50412 | -0.020263 | -0.0014908 | -0.020263
113 | 3 | -0.037082 | 0.60378 | 0.79715 | 1 | 0.24 | -2.1859e-14 | 1.0335e-14 | 2.4179e-14 | 0.62384 | 0 | 0.62384 | -1.3636e-14 | 6.4476e-15 | 1.5084e-14 | 0.31388 | 0.46599 | 0.56184 | -0.97802 | -0.039311 | -0.0022292 | -0.039311
114 | 3.25 | -0.054479 | 0.21376 | 0.97689 | 1 | 0.26 | 1.5878e-14 | -1.3427e-14 | 2.0794e-14 | 0.5936 | 0 | 0.5936 | 9.4252e-15 | -7.9701e-15 | 1.2343e-14 | 0.10168 | 0.60183 | 0.61036 | -1.4034 | -0.05641 | -0.0019313 | -0.05641
115 | 3.5 | -0.070534 | -0.18298 | 0.98312 | 1 | 0.28 | -1.3198e-14 | 2.4678e-14 | 2.7986e-14 | 0.56364 | 0 | 0.56364 | -7.4391e-15 | 1.391e-14 | 1.5774e-14 | -0.13429 | 0.65171 | 0.6654 | -1.774 | -0.071306 | -0.00077195 | -0.071306
116 | 3.75 | -0.084853 | -0.51435 | 0.85758 | 1 | 0.3 | 1.1423e-14 | 0.30648 | 0.30648 | 0.53397 | 0 | 0.53397 | 6.0997e-15 | 0.16365 | 0.16365 | -0.35683 | 0.6256 | 0.72021 | -2.0891 | -0.083973 | 0.00087991 | -0.083973
117 | 4 | -0.097082 | -0.74763 | 0.66411 | 1 | 0.32 | -1.0816e-14 | -2.1738e-14 | 2.428e-14 | 0.50463 | 0 | 0.50463 | -5.458e-15 | -1.097e-14 | 1.2253e-14 | -0.5405 | 0.54822 | 0.76986 | -2.3491 | -0.094422 | 0.0026602 | -0.094422
118 | 4.25 | -0.10692 | -0.88629 | 0.46313 | 1 | 0.34 | 1.0846e-14 | 1.0462e-14 | 1.5069e-14 | 0.47564 | 0 | 0.47564 | 5.1587e-15 | 4.9762e-15 | 7.1676e-15 | -0.67473 | 0.44997 | 0.81101 | -2.5534 | -0.10263 | 0.004286 | -0.10263
119 | 4.5 | -0.11413 | -0.95467 | 0.29767 | 1 | 0.36 | -1.2013e-14 | -6.7937e-15 | 1.3801e-14 | 0.44701 | 0 | 0.44701 | -5.3698e-15 | -3.0369e-15 | 6.169e-15 | -0.76117 | 0.35897 | 0.84157 | -2.7009 | -0.10856 | 0.0055637 | -0.10856
120 | 4.75 | -0.11852 | -0.98145 | 0.19169 | 1 | 0.38 | 1.6318e-14 | 5.1607e-15 | 1.7115e-14 | 0.41879 | 0 | 0.41879 | 6.834e-15 | 2.1613e-15 | 7.1676e-15 | -0.80772 | 0.29616 | 0.8603 | -2.7902 | -0.11215 | 0.006373 | -0.11215
121 | 5 | -0.12 | -0.98784 | 0.1555 | 1 | 0.4 | 0.13011 | -4.2937e-15 | 0.13011 | 0.391 | 0 | 0.391 | 0.050872 | -1.6789e-15 | 0.050872 | -0.82219 | 0.27389 | 0.86661 | -2.82 | -0.11335 | 0.0066495 | -0.11335
122 | 5.25 | -0.11852 | -0.98145 | 0.19169 | 1 | 0.42 | -5.1639e-15 | 3.9341e-15 | 6.4918e-15 | 0.36367 | 0 | 0.36367 | -1.878e-15 | 1.4307e-15 | 2.3609e-15 | -0.80772 | 0.29616 | 0.8603 | -2.7902 | -0.11215 | 0.006373 | -0.11215
123 | 5.5 | -0.11413 | -0.95467 | 0.29767 | 1 | 0.44 | 2.2609e-16 | -3.608e-15 | 3.6151e-15 | 0.33683 | 0 | 0.33683 | 7.6154e-17 | -1.2153e-15 | 1.2177e-15 | -0.76117 | 0.35897 | 0.84157 | -2.7009 | -0.10856 | 0.0055637 | -0.10856
124 | 5.75 | -0.10692 | -0.88629 | 0.46313 | 1 | 0.46 | 1.0508e-15 | 3.8672e-15 | 4.0075e-15 | 0.31051 | 0 | 0.31051 | 3.263e-16 | 1.2008e-15 | 1.2444e-15 | -0.67473 | 0.44997 | 0.81101 | -2.5534 | -0.10263 | 0.004286 | -0.10263
125 | 6 | -0.097082 | -0.74763 | 0.66411 | 1 | 0.48 | -1.6926e-15 | -5.8301e-15 | 6.0708e-15 | 0.28476 | 0 | 0.28476 | -4.8197e-16 | -1.6602e-15 | 1.7287e-15 | -0.5405 | 0.54822 | 0.76986 | -2.3491 | -0.094422 | 0.0026602 | -0.094422
126 | 6.25 | -0.084853 | -0.51435 | 0.85758 | 1 | 0.5 | 1.8383e-15 | -0.042157 | 0.042157 | 0.2596 | 0 | 0.2596 | 4.7722e-16 | -0.010944 | 0.010944 | -0.35683 | 0.6256 | 0.72021 | -2.0891 | -0.083973 | 0.00087991 | -0.083973
127 | 6.5 | -0.070534 | -0.18298 | 0.98312 | 1 | 0.52 | -1.7348e-15 | 1.5128e-15 | 2.3017e-15 | 0.23507 | 0 | 0.23507 | -4.078e-16 | 3.5562e-16 | 5.4108e-16 | -0.13429 | 0.65171 | 0.6654 | -1.774 | -0.071306 | -0.00077195 | -0.071306
128 | 6.75 | -0.054479 | 0.21376 | 0.97689 | 1 | 0.54 | 1.7879e-15 | 2.914e-16 | 1.8115e-15 | 0.21123 | 0 | 0.21123 | 3.7767e-16 | 6.1553e-17 | 3.8265e-16 | 0.10168 | 0.60183 | 0.61036 | -1.4034 | -0.05641 | -0.0019313 | -0.05641
129 | 7 | -0.037082 | 0.60378 | 0.79715 | 1 | 0.56 | -2.1088e-15 | -8.9851e-16 | 2.2923e-15 | 0.18812 | 0 | 0.18812 | -3.9671e-16 | -1.6903e-16 | 4.3122e-16 | 0.31388 | 0.46599 | 0.56184 | -0.97802 | -0.039311 | -0.0022292 | -0.039311
130 | 7.25 | -0.018772 | 0.89291 | 0.45024 | 1 | 0.58 | 1.7865e-15 | 1.03e-15 | 2.0622e-15 | 0.16579 | 0 | 0.16579 | 2.9618e-16 | 1.7076e-16 | 3.4188e-16 | 0.46218 | 0.25497 | 0.52784 | -0.50412 | -0.020263 | -0.0014908 | -0.020263
131 | 7.5 | -2.2044e-17 | 1 | 5.4842e-16 | 1 | 0.6 | -0.011103 | -1.219e-15 | 0.011103 | 0.14429 | 0 | 0.14429 | -0.001602 | -1.7589e-16 | 0.001602 | 0.51551 | -5.8939e-14 | 0.51551 | 1.1433e-13 | 4.5955e-15 | 4.7447e-15 | 4.5955e-15
132 | 7.75 | 0.018772 | 0.89291 | -0.45024 | 1 | 0.62 | 3.4301e-15 | 1.1834e-15 | 3.6285e-15 | 0.1237 | 0 | 0.1237 | 4.2431e-16 | 1.4639e-16 | 4.4885e-16 | 0.46218 | -0.25497 | 0.52784 | 0.50412 | 0.020263 | 0.0014908 | 0.020263
133 | 8 | 0.037082 | 0.60378 | -0.79715 | 1 | 0.64 | -3.3652e-15 | -8.8015e-16 | 3.4784e-15 | 0.10409 | 0 | 0.10409 | -3.5028e-16 | -9.1614e-17 | 3.6206e-16 | 0.31388 | -0.46599 | 0.56184 | 0.97802 | 0.039311 | 0.0022292 | 0.039311
134 | 8.25 | 0.054479 | 0.21376 | -0.97689 | 1 | 0.66 | 2.9729e-15 | 6.8643e-16 | 3.0511e-15 | 0.085536 | 0 | 0.085536 | 2.5429e-16 | 5.8714e-17 | 2.6098e-16 | 0.10168 | -0.60183 | 0.61036 | 1.4034 | 0.05641 | 0.0019313 | 0.05641
135 | 8.5 | 0.070534 | -0.18298 | -0.98312 | 1 | 0.68 | -2.6452e-15 | -8.7867e-16 | 2.7873e-15 | 0.068147 | 0 | 0.068147 | -1.8027e-16 | -5.9879e-17 | 1.8995e-16 | -0.13429 | -0.65171 | 0.6654 | 1.774 | 0.071306 | 0.00077195 | 0.071306
136 | 8.75 | 0.084853 | -0.51435 | -0.85758 | 1 | 0.7 | 2.7114e-15 | 0.0024691 | 0.0024691 | 0.052046 | 0 | 0.052046 | 1.4112e-16 | 0.0001285 | 0.0001285 | -0.35683 | -0.6256 | 0.72021 | 2.0891 | 0.083973 | -0.00087991 | 0.083973
137 | 9 | 0.097082 | -0.74763 | -0.66411 | 1 | 0.72 | -2.6342e-15 | -1.3693e-15 | 2.9688e-15 | 0.037386 | 0 | 0.037386 | -9.8481e-17 | -5.1195e-17 | 1.1099e-16 | -0.5405 | -0.54822 | 0.76986 | 2.3491 | 0.094422 | -0.0026602 | 0.094422
138 | 9.25 | 0.10692 | -0.88629 | -0.46313 | 1 | 0.74 | 2.2655e-15 | 7.7963e-16 | 2.3959e-15 | 0.024377 | 0 | 0.024377 | 5.5225e-17 | 1.9005e-17 | 5.8404e-17 | -0.67473 | -0.44997 | 0.81101 | 2.5534 | 0.10263 | -0.004286 | 0.10263
139 | 9.5 | 0.11413 | -0.95467 | -0.29767 | 1 | 0.76 | -2.4791e-15 | -1.0549e-15 | 2.6942e-15 | 0.01332 | 0 | 0.01332 | -3.3021e-17 | -1.4052e-17 | 3.5887e-17 | -0.76117 | -0.35897 | 0.84157 | 2.7009 | 0.10856 | -0.0055637 | 0.10856
140 | 9.75 | 0.11852 | -0.98145 | -0.19169 | 1 | 0.78 | 2.7392e-15 | 1.602e-15 | 3.1733e-15 | 0.0047272 | 0 | 0.0047272 | 1.2949e-17 | 7.5733e-18 | 1.5001e-17 | -0.80772 | -0.29616 | 0.8603 | 2.7902 | 0.11215 | -0.006373 | 0.11215
141 | 10 | 0.12 | -0.98784 | -0.1555 | 1 | 0.8 | 0.00047581 | -1.3958e-15 | 0.00047581 | 0 | 0 | 0 | 0 | 0 | 0 | -0.82219 | -0.27389 | 0.86661 | 2.82 | 0.11335 | -0.0066495 | 0.11335
142 | 10.25 | 0.11852 | -0.98145 | -0.19169 | 1 | 0.82 | 2.3305e-15 | 1.3078e-15 | 2.6724e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.80772 | -0.29616 | 0.8603 | 2.7902 | 0.11215 | -0.006373 | 0.11215
143 | 10.5 | 0.11413 | -0.95467 | -0.29767 | 1 | 0.84 | -2.2636e-15 | -1.4956e-15 | 2.7131e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.76117 | -0.35897 | 0.84157 | 2.7009 | 0.10856 | -0.0055637 | 0.10856
144 | 10.75 | 0.10692 | -0.88629 | -0.46313 | 1 | 0.86 | 2.1756e-15 | 1.3354e-15 | 2.5528e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.67473 | -0.44997 | 0.81101 | 2.5534 | 0.10263 | -0.004286 | 0.10263
145 | 11 | 0.097082 | -0.74763 | -0.66411 | 1 | 0.88 | -2.179e-15 | -1.298e-15 | 2.5363e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5405 | -0.54822 | 0.76986 | 2.3491 | 0.094422 | -0.0026602 | 0.094422
146 | 11.25 | 0.084853 | -0.51435 | -0.85758 | 1 | 0.9 | 1.5735e-15 | -8.0964e-05 | 8.0964e-05 | 0 | 0 | 0 | 0 | 0 | 0 | -0.35683 | -0.6256 | 0.72021 | 2.0891 | 0.083973 | -0.00087991 | 0.083973
147 | 11.5 | 0.070534 | -0.18298 | -0.98312 | 1 | 0.92 | -1.7636e-15 | -9.6667e-16 | 2.0111e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13429 | -0.65171 | 0.6654 | 1.774 | 0.071306 | 0.00077195 | 0.071306
148 | 11.75 | 0.054479 | 0.21376 | -0.97689 | 1 | 0.94 | 1.9589e-15 | 1.3387e-15 | 2.3727e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10168 | -0.60183 | 0.61036 | 1.4034 | 0.05641 | 0.0019313 | 0.05641
149 | 12 | 0.037082 | 0.60378 | -0.79715 | 1 | 0.96 | -1.9507e-15 | -1.3994e-15 | 2.4008e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31388 | -0.46599 | 0.56184 | 0.97802 | 0.039311 | 0.0022292 | 0.039311
150 | 12.25 | 0.018772 | 0.89291 | -0.45024 | 1 | 0.98 | 2.8415e-15 | 9.9285e-16 | 3.01e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46218 | -0.25497 | 0.52784 | 0.50412 | 0.020263 | 0.0014908 | 0.020263
151 | 12.5 | 3.6739e-17 | 1 | -9.1403e-16 | 1 | 1 | -1.234e-05 | -1.3818e-15 | 1.234e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51551 | -3.7872e-14 | 0.51551 | 7.3465e-14 | 2.9529e-15 | 3.0433e-15 | 2.9529e-15
152 | 12.75 | -0.018772 | 0.89291 | 0.45024 | 1 | 1.02 | 2.0355e-15 | 8.7838e-16 | 2.2169e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46218 | 0.25497 | 0.52784 | -0.50412 | -0.020263 | -0.0014908 | -0.020263
153 | 13 | -0.037082 | 0.60378 | 0.79715 | 1 | 1.04 | -2.0149e-15 | -1.1865e-15 | 2.3383e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31388 | 0.46599 | 0.56184 | -0.97802 | -0.039311 | -0.0022292 | -0.039311
154 | 13.25 | -0.054479 | 0.21376 | 0.97689 | 1 | 1.06 | 2.7081e-15 | 1.1819e-15 | 2.9548e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10168 | 0.60183 | 0.61036 | -1.4034 | -0.05641 | -0.0019313 | -0.05641
155 | 13.5 | -0.070534 | -0.18298 | 0.98312 | 1 | 1.08 | -1.945e-15 | -1.4432e-15 | 2.4219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13429 | 0.65171 | 0.6654 | -1.774 | -0.071306 | -0.00077195 | -0.071306
156 | 13.75 | -0.084853 | -0.51435 | 0.85758 | 1 | 1.1 | 1.5572e-15 | 1.7038e-06 | 1.7038e-06 | 0 | 0 | 0 | 0 | 0 | 0 | -0.35683 | 0.6256 | 0.72021 | -2.0891 | -0.083973 | 0.00087991 | -0.083973
157 | 14 | -0.097082 | -0.74763 | 0.66411 | 1 | 1.12 | -1.2529e-15 | -1.1069e-15 | 1.6718e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5405 | 0.54822 | 0.76986 | -2.3491 | -0.094422 | 0.0026602 | -0.094422
158 | 14.25 | -0.10692 | -0.88629 | 0.46313 | 1 | 1.14 | 6.6123e-16 | 2.1146e-15 | 2.2156e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.67473 | 0.44997 | 0.81101 | -2.5534 | -0.10263 | 0.004286 | -0.10263
159 | 14.5 | -0.11413 | -0.95467 | 0.29767 | 1 | 1.16 | -1.4403e-15 | -2.2966e-15 | 2.7108e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.76117 | 0.35897 | 0.84157 | -2.7009 | -0.10856 | 0.0055637 | -0.10856
160 | 14.75 | -0.11852 | -0.98145 | 0.19169 | 1 | 1.18 | 1.5844e-15 | 1.3821e-15 | 2.1026e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.80772 | 0.29616 | 0.8603 | -2.7902 | -0.11215 | 0.006373 | -0.11215
161 | 15 | -0.12 | -0.98784 | 0.1555 | 1 | 1.2 | 2.1505e-07 | -1.7205e-15 | 2.1505e-07 | 0 | 0 | 0 | 0 | 0 | 0 | -0.82219 | 0.27389 | 0.86661 | -2.82 | -0.11335 | 0.0066495 | -0.11335
162 | 15.25 | -0.11852 | -0.98145 | 0.19169 | 1 | 1.22 | 1.6303e-15 | 1.7843e-15 | 2.4169e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.80772 | 0.29616 | 0.8603 | -2.7902 | -0.11215 | 0.006373 | -0.11215
163 | 15.5 | -0.11413 | -0.95467 | 0.29767 | 1 | 1.24 | -1.9706e-15 | -2.1208e-15 | 2.895e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.76117 | 0.35897 | 0.84157 | -2.7009 | -0.10856 | 0.0055637 | -0.10856
164 | 15.75 | -0.10692 | -0.88629 | 0.46313 | 1 | 1.26 | 2.0789e-15 | 1.7577e-15 | 2.7224e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.67473 | 0.44997 | 0.81101 | -2.5534 | -0.10263 | 0.004286 | -0.10263
165 | 16 | -0.097082 | -0.74763 | 0.66411 | 1 | 1.28 | -1.2753e-15 | -1.8999e-15 | 2.2882e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5405 | 0.54822 | 0.76986 | -2.3491 | -0.094422 | 0.0026602 | -0.094422
166 | 16.25 | -0.084853 | -0.51435 | 0.85758 | 1 | 1.3 | 1.1502e-15 | -2.5003e-08 | 2.5003e-08 | 0 | 0 | 0 | 0 | 0 | 0 | -0.35683 | 0.6256 | 0.72021 | -2.0891 | -0.083973 | 0.00087991 | -0.083973
167 | 16.5 | -0.070534 | -0.18298 | 0.98312 | 1 | 1.32 | -1.4915e-15 | -2.3375e-15 | 2.7728e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13429 | 0.65171 | 0.6654 | -1.774 | -0.071306 | -0.00077195 | -0.071306
168 | 16.75 | -0.054479 | 0.21376 | 0.97689 | 1 | 1.34 | 1.6865e-15 | 1.6921e-15 | 2.389e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10168 | 0.60183 | 0.61036 | -1.4034 | -0.05641 | -0.0019313 | -0.05641
169 | 17 | -0.037082 | 0.60378 | 0.79715 | 1 | 1.36 | -2.2252e-15 | -1.0218e-15 | 2.4486e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31388 | 0.46599 | 0.56184 | -0.97802 | -0.039311 | -0.0022292 | -0.039311
170 | 17.25 | -0.018772 | 0.89291 | 0.45024 | 1 | 1.38 | 1.1961e-15 | 1.3045e-15 | 1.7699e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46218 | 0.25497 | 0.52784 | -0.50412 | -0.020263 | -0.0014908 | -0.020263
171 | 17.5 | -5.1435e-17 | 1 | 1.2796e-15 | 1 | 1.4 | -2.6947e-09 | -2.1389e-15 | 2.6947e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51551 | -1.1457e-13 | 0.51551 | 2.2226e-13 | 8.9336e-15 | 9.1121e-15 | 8.9336e-15
172 | 17.75 | 0.018772 | 0.89291 | -0.45024 | 1 | 1.42 | 9.6447e-16 | 1.5909e-15 | 1.8604e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46218 | -0.25497 | 0.52784 | 0.50412 | 0.020263 | 0.0014908 | 0.020263
173 | 18 | 0.037082 | 0.60378 | -0.79715 | 1 | 1.44 | -1.5774e-15 | -7.6064e-16 | 1.7512e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31388 | -0.46599 | 0.56184 | 0.97802 | 0.039311 | 0.0022292 | 0.039311
174 | 18.25 | 0.054479 | 0.21376 | -0.97689 | 1 | 1.46 | 2.1003e-15 | 1.6445e-15 | 2.6675e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10168 | -0.60183 | 0.61036 | 1.4034 | 0.05641 | 0.0019313 | 0.05641
175 | 18.5 | 0.070534 | -0.18298 | -0.98312 | 1 | 1.48 | -1.7539e-15 | -1.9502e-15 | 2.6228e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13429 | -0.65171 | 0.6654 | 1.774 | 0.071306 | 0.00077195 | 0.071306
176 | 18.75 | 0.084853 | -0.51435 | -0.85758 | 1 | 1.5 | 1.1068e-15 | 2.707e-10 | 2.707e-10 | 0 | 0 | 0 | 0 | 0 | 0 | -0.35683 | -0.6256 | 0.72021 | 2.0891 | 0.083973 | -0.00087991 | 0.083973
177 | 19 | 0.097082 | -0.74763 | -0.66411 | 1 | 1.52 | -1.0307e-15 | -1.21e-15 | 1.5895e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5405 | -0.54822 | 0.76986 | 2.3491 | 0.094422 | -0.0026602 | 0.094422
178 | 19.25 | 0.10692 | -0.88629 | -0.46313 | 1 | 1.54 | 1.141e-15 | 1.6061e-15 | 1.9702e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.67473 | -0.44997 | 0.81101 | 2.5534 | 0.10263 | -0.004286 | 0.10263
179 | 19.5 | 0.11413 | -0.95467 | -0.29767 | 1 | 1.56 | -1.2713e-15 | -1.5173e-15 | 1.9795e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.76117 | -0.35897 | 0.84157 | 2.7009 | 0.10856 | -0.0055637 | 0.10856
180 | 19.75 | 0.11852 | -0.98145 | -0.19169 | 1 | 1.58 | -7.9638e-17 | 1.5345e-15 | 1.5365e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.80772 | -0.29616 | 0.8603 | 2.7902 | 0.11215 | -0.006373 | 0.11215
181 | 20 | 0.12 | -0.98784 | -0.1555 | 1 | 1.6 | 2.5464e-11 | -2.4289e-15 | 2.5464e-11 | 0 | 0 | 0 | 0 | 0 | 0 | -0.82219 | -0.27389 | 0.86661 | 2.82 | 0.11335 | -0.0066495 | 0.11335
182 | 20.25 | 0.11852 | -0.98145 | -0.19169 | 1 | 1.62 | 8.9877e-16 | 1.8813e-15 | 2.085e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.80772 | -0.29616 | 0.8603 | 2.7902 | 0.11215 | -0.006373 | 0.11215
183 | 20.5 | 0.11413 | -0.95467 | -0.29767 | 1 | 1.64 | -9.5425e-16 | -2.0595e-15 | 2.2698e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.76117 | -0.35897 | 0.84157 | 2.7009 | 0.10856 | -0.0055637 | 0.10856
184 | 20.75 | 0.10692 | -0.88629 | -0.46313 | 1 | 1.66 | 1.5761e-15 | 1.7131e-15 | 2.3278e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.67473 | -0.44997 | 0.81101 | 2.5534 | 0.10263 | -0.004286 | 0.10263
185 | 21 | 0.097082 | -0.74763 | -0.66411 | 1 | 1.68 | -1.4359e-15 | -1.5526e-15 | 2.1148e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5405 | -0.54822 | 0.76986 | 2.3491 | 0.094422 | -0.0026602 | 0.094422
186 | 21.25 | 0.084853 | -0.51435 | -0.85758 | 1 | 1.7 | 7.9358e-17 | -2.2509e-12 | 2.2509e-12 | 0 | 0 | 0 | 0 | 0 | 0 | -0.35683 | -0.6256 | 0.72021 | 2.0891 | 0.083973 | -0.00087991 | 0.083973
187 | 21.5 | 0.070534 | -0.18298 | -0.98312 | 1 | 1.72 | -1.0427e-15 | -1.836e-15 | 2.1114e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13429 | -0.65171 | 0.6654 | 1.774 | 0.071306 | 0.00077195 | 0.071306
188 | 21.75 | 0.054479 | 0.21376 | -0.97689 | 1 | 1.74 | 2.164e-15 | 2.2426e-15 | 3.1165e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10168 | -0.60183 | 0.61036 | 1.4034 | 0.05641 | 0.0019313 | 0.05641
189 | 22 | 0.037082 | 0.60378 | -0.79715 | 1 | 1.76 | -1.4476e-15 | -2.4922e-15 | 2.8822e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31388 | -0.46599 | 0.56184 | 0.97802 | 0.039311 | 0.0022292 | 0.039311
190 | 22.25 | 0.018772 | 0.89291 | -0.45024 | 1 | 1.78 | 8.8396e-16 | 2.0993e-15 | 2.2778e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46218 | -0.25497 | 0.52784 | 0.50412 | 0.020263 | 0.0014908 | 0.020263
191 | 22.5 | 6.6131e-17 | 1 | -1.6453e-15 | 1 | 1.8 | -1.8878e-13 | -1.3496e-15 | 1.8879e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51551 | -8.0285e-14 | 0.51551 | 1.5574e-13 | 6.2599e-15 | 6.3209e-15 | 6.2599e-15
192 | 22.75 | -0.018772 | 0.89291 | 0.45024 | 1 | 1.82 | 2.8225e-16 | 2.4912e-15 | 2.5071e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46218 | 0.25497 | 0.52784 | -0.50412 | -0.020263 | -0.0014908 | -0.020263
193 | 23 | -0.037082 | 0.60378 | 0.79715 | 1 | 1.84 | 1.8059e-16 | -2.6908e-15 | 2.6968e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31388 | 0.46599 | 0.56184 | -0.97802 | -0.039311 | -0.0022292 | -0.039311
194 | 23.25 | -0.054479 | 0.21376 | 0.97689 | 1 | 1.86 | -2.234e-16 | 1.6246e-15 | 1.6399e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10168 | 0.60183 | 0.61036 | -1.4034 | -0.05641 | -0.0019313 | -0.05641
195 | 23.5 | -0.070534 | -0.18298 | 0.98312 | 1 | 1.88 | -8.8918e-16 | -2.7229e-15 | 2.8644e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13429 | 0.65171 | 0.6654 | -1.774 | -0.071306 | -0.00077195 | -0.071306
196 | 23.75 | -0.084853 | -0.51435 | 0.85758 | 1 | 1.9 | 5.9453e-16 | 1.7652e-14 | 1.7662e-14 | 0 | 0 | 0 | 0 | 0 | 0 | -0.35683 | 0.6256 | 0.72021 | -2.0891 | -0.083973 | 0.00087991 | -0.083973
197 | 24 | -0.097082 | -0.74763 | 0.66411 | 1 | 1.92 | -4.59e-16 | -3.2707e-15 | 3.3027e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5405 | 0.54822 | 0.76986 | -2.3491 | -0.094422 | 0.0026602 | -0.094422
198 | 24.25 | -0.10692 | -0.88629 | 0.46313 | 1 | 1.94 | 1.5458e-16 | 3.1106e-15 | 3.1144e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.67473 | 0.44997 | 0.81101 | -2.5534 | -0.10263 | 0.004286 | -0.10263
199 | 24.5 | -0.11413 | -0.95467 | 0.29767 | 1 | 1.96 | -4.5635e-16 | -2.1095e-15 | 2.1583e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.76117 | 0.35897 | 0.84157 | -2.7009 | -0.10856 | 0.0055637 | -0.10856
200 | 24.75 | -0.11852 | -0.98145 | 0.19169 | 1 | 1.98 | 1.6417e-15 | 3.3651e-15 | 3.7442e-15 | 0 | 0 | 0 | 0 | 0 | 0 | -0.80772 | 0.29616 | 0.8603 | -2.7902 | -0.11215 | 0.006373 | -0.11215

## Description
Elementary Fourier Optics model for interferometric measurements of surface topography
Single wavelength phase measurement
© Zygo Corporation Peter de Groot 2020/08/02
Creative Commons Attribution-NonCommercial-NoDerivatives 4.0 International License
This EXCEL workbook demonstrates the Elementary Fourier Optics (EFO) model for surface topography measuring interferometers. The model closely follows the papers J. Opt. Soc. Am. A 37, B1-B10 (2020) and Proc. SPIE 11490-27 (2020). The EFO demonstrator is intended to be the simplest possible interferometer model that meaningfully includes the imaging properties of the optical system. This approximation is most appropriate for low NA systems for which the peak-valley surface topography height variation is much less than the depth of field. The demonstrator considers only the effects of limiting apertures and focus errors. Intentionally neglected are camera pixel size, phase measurement error, polarization effects, environmental disturbances and any specialized algorithms intended to enhance measurement fidelity. The use of EXCEL is an unusual choice for a mathematical model of this kind, but it has some advantages. All of the modeling parameters, results graphs, and computational steps can be displayed on one spreadsheet. Only standard EXCEL functions are needed—there are no macros and no visual basic code in the simulation. The simulation workbook is locked with the exception of a handful of fields that allow for changing the conditions of the simulation. However, the cell contents and formulas can all be inspected by viewing the formulas bar. This demonstrator is limited in functionality, illustrating how a simple model can be implemented for a monochromatic, phase measuring interferometer. For more practical implementations, particularly for more realistic surfaces represented by a 2D array of surface points rather than a 1D profile, it is best to write a computer program in a language that can manage large amounts of data quickly and efficiently. Further, an EFO model should be viewed only as starting point, with more serious work relying on rigorous methods of diffraction analysis together with full 3D transfer functions. The profile options include either a cosine topography or a rectangular-profile “twin post” surface feature that is useful for modeling lateral resolution. These two options are selected by choosing amplitudes. If they are both nonzero at the same time, this is flagged with a red font. The overall tilt of the part can also be changed, which is useful to see how the spatial frequencies shift with object tilt. For simplicity, the object surface reflectivity is the same for all pixels and cannot be changed, although of course this and many other limitations are not fundamental to the EFO model. The optical system is assumed to be diffraction limited. There are two possible illumination settings: A filled pupil (q=1) is relevant to an LED or other extended light source imaged into the objective pupil, corresponding to an illumination NA that equals the imaging NA. A second setting (q=0) is appropriate for a point source such as a laser, for which the illumination NA is equal to zero. These two possibilities represent spatially incoherent and coherent imaging, respectively, within the mathematical framework of the model. The resulting transfer functions can be viewed in one of the graphs on the worksheet. Focus effects are incorporated into the transfer function as a phase term. The defocus setting operates on the imaging side only—this simulator does not consider coherence effects that reduce interference fringe contrast because of defocus. There are some built-in parameter inputs to the demonstrator. Post heights cannot exceed one-quarter the wavelength, to avoid fringe order errors. The slope for sine profiles will be flagged as red if it is too high for the NA of the system, or if it exceeds one-half the wavelength per pixel, which leads to fringe order errors in the phase unwrapping. Some of the other parameters have range limits, for example, the wavelength must be larger than zero, and the NA must be larger than 0 but no larger than 1. There are 6 results figures. In the top row: Fig.1 Original simulated surface height profile Fig.2 Measured surface height profile, calculated from the interference phase Fig.3 Difference between the measured and known height profile = the measurement error In the next row: Fig.4 Interference signal strength Fig.5 Frequency content of the object light field (=its Fourier Transform) Fig.6 Magnitude of the optical transfer function in frequency space (frequency in inverse µm) Interesting examples include the following: Lateral resolution test using posts: It is interesting to see how the posts are blurred, under what conditions the posts are resolved, and how their measured heights depend on spacing, NA, focus and so on. A suggested example is the following setup for two posts spaced at the Rayleigh criterion limit, showing that the posts are resolved but are reduced in height by the transfer function characteristics of the instrument: Field of view=25 µm Sine amplitude=0 µm Twin post height=0.04 µm Period=5 µm Tilt=0 deg Wavelength=0.5 µm NA=0.061 - vary to see how limiting apertures affect resolution Pupil fill=1 (for near-incoherent imaging, set to 0 for coherent imaging) Defocus=0 µm - vary to see the effect of image blurring Attenuation and distortion of a sinusoidal topography: This example illustrates the effect of the transfer function on the spectrum of plane waves for a sinusoidal surface profile, which produces many more diffraction orders than a sinusoidal intensity pattern. Suggested starting values: Field of view=100 µm Sine amplitude=0.16 µm - gradually change to see how the Fourier spectrum changes Twin post height=0 µm Period=20 µm Tilt=0 deg Wavelength=0.5 µm NA=0.1 – vary to see the effects of apertures on the amplitude and fidelity of the measured sinusoid Pupil fill=1 (for near-incoherent imaging, set to 0 for coherent imaging) Defocus=0 µm Enjoy!

## Figure
Elementary Fourier Optics model for interferometric measurements of surface topography
Single wavelength phase measurement
© Zygo Corporation Peter de Groot 2020/08/02
Creative Commons Attribution-NonCommercial-NoDerivatives 4.0 International License
P. de Groot and X. Colonna de Lega Fourier optics modeling of interference microscopes J. Opt. Soc. Am. A 37, B1-B10 (2020)